# ST-1700-V-B Synthetic Turf Rotor Written Specifications

Part 1 – General

  - The ST-1700-V-B is a gear-driven, synthetic turf rotor designed for cooling, cleaning, and flushing large synthetic sports fields. The rotor shall feature an integrated Valve-in-Head (VIH)  and actuator design for Total-Top-Serviceability (TTS).

Part 2 – Parts and Materials

2.1  The ST-1700-V-B Synthetic Turf Rotor shall be available in one model as a VIH rotor.

- The sprinkler body shall be constructed from corrosion- and impact-resistant ABS plastic.

- The pop-up assembly shall be constructed with a stainless steel riser and a solid brass, machined base.

- The sprinkler shall have a stainless steel retraction spring.

- The pop-up assembly shall be protected from external contamination by a telescoping rubber boot sealed at both ends along the riser.

- The sprinkler shall have a brass adjustment knob to modify the speed of rotation.

- The sprinkler shall have a ratcheting mechanism within the gear drive that allows for adjustment of the nozzle turret assembly without damage to the sprinkler.

- The sprinkler shall be capable of both full-circle and adjustable part-circle configurations from 40° to 360°.

- The sprinkler shall have a factory-installed rubber cover.

- The sprinkler shall include five nozzle options for distances ranging from 32 m to     48 m with flow rates from 21.0 to 58.8 m3/hr; 350 to 980 l/min.

2.2.  ST-1700-V-B Synthetic Turf Rotor dimensions

- The overall height of the rotor shall be 69 cm.

- The pop-up height shall be 13 cm.

- The rubber cover diameter shall be 30 cm.

- The exposed top surface shall be 33 cm x 39 cm.

- The inlet size shall be 50 mm BSP.

2.3  ST-IBS-1700 (Infill Barrier System)

- The Infill Barrier System shall include three heavy-duty rubber components, two stainless steel screws, and two black plastic plugs.

- The outer ring shall be attached to the rotor’s flange and include a vertical barrier wall to prevent substantial portions of the exterior-to-rotor infill material from migrating to the rotor’s interior cavity when the rotor is popped up and operating.

- The inner cup component shall be attached to the rotor’s central pop-up logo cap. The cup shall include a vertical barrier wall to prevent substantial portions of the cup’s infill material from migrating to the rotor’s interior cavity when the rotor is popped up and operating.

- The TTS insert shall overlay the TTS cover on the rotor. The insert shall be fastened to the cover with two provided screws topped by two black plugs. This piece shall have a vertical barrier wall to retain substantial portions of the infill material within the insert.

- All three components shall be removable and reinstallable for rotor servicing purposes.

- All three components shall include ringed reference markings to assist with trimming the height of the vertical wall barriers to accommodate various lengths of synthetic turf.

- All three components shall be trimmable to provide a generally flat upper surface for the rotor’s exposed upper surface, which shall allow for attachment of short-fibred turf or running track material.

2.4  Warranty

- The ST-1700-V-B Synthetic Turf Rotor shall have a component warranty period of five years.

Part 3 – Function and Operation

3.1  Operating pressure range

- The recommended operating pressure range shall be 4.0 to 8.0 bar; 400 to 800 kPa.

  - Radius

- The radius of throw shall be 32 m to 48 m.

  - Flow rate

- The flow rate shall be 21.0 to 58.8 m3/hr; 350 to 980 l/min.

3.4  Precipitation rate

A.   The precipitation rate shall be approximately 45 mm/hr.

  - Nozzle trajectory

A.    The nozzle trajectory shall be approximately 25°.

3.6  Arc adjustment

A.     The arc shall be adjustable from 40° to 360°.

3.7  Rotation speed

- The standard speed of rotation shall be 80 seconds at 6.0 bar; 600 kPa for a single 180° sweep.

- The brass adjustment knob shall allow for speed of rotation adjustments down to zero — or no rotation — and up to 65 seconds at 8.0 bar; 800 kPa.

3.8  Internal ratcheting mechanism

- The ratcheting mechanism shall allow for easy rotor setting through full rotational adjustment of the turret without the risk of damage.

3.9  Serviceability

- All components shall be serviced through the top of the rotor.

- The flange compartment shall hold the solenoid and on-off-auto selector and shall accommodate full-sized waterproof connectors and decoders for two-wire control system applications.

© 2024 Hunter Industries Inc. Hunter, the Hunter logo, and other marks are trademarks of Hunter Industries Inc., registered in the U.S. and certain other countries.