# ICC2 Irrigation Controller Written Specifications

Part 1 – General

  - The controller shall be a full-featured commercial-industrial product for the purpose of irrigation operation, management, and monitoring of control valves and sensors. The controller shall comprise a modular design with a standard base 8-station output module. The controller shall be expandable with 4-, 8-, or 22-station conventional modules, one 54-station decoder output module, or one 54-station Wireless Valve Output Module. Optional cellular, Wi-Fi, and LAN Kits are also available to upgrade to cloud-based control via the Centralus™ Irrigation Management Platform.

Part 2 – Controller Enclosures

  - The controller shall be available in the following options:

- Plastic wall-mount enclosure

- The controller shall be Hunter Industries model I2CF-800-PL.

- The preassembled controller shall have a height of 12" (30.5 cm), width of 13¾" (35.0 cm), and a depth of 5" (12.7 cm).

- The controller shall be furnished in an outdoor, weather-resistant, wall-mount plastic enclosure, prewired for remote control, with a key lock.

- The controller shall provide modular expansion up to 38 stations when conventionally wired, or up to 54 stations via two-wire decoders or Wireless Valve Links.

- All station outputs shall have a metal oxide varistor (MOV) and copper induction coil surge suppression.

- The enclosure shall be IP55 rated.

- A 751CH key shall be mounted in the enclosure door for security.

  - Two (2) keys shall be provided per each controller.

- Powder-coated metal wall-mount enclosure and powder-coated metal pedestal

- The controller shall be Hunter Industries model I2CF-800-M. The metal wall mount may also be mounted on a matching gray, powder-coated metal pedestal. The pedestal shall be Hunter Industries model ICC-PED.

- The preassembled wall-mount controller shall have a height of 16" (40.6 cm), width of 13" (33.0 cm), and depth of 5" (12.7 cm).

- The preassembled pedestal mount shall have a height of 36" (91.4 cm), width of 11½" (29.2 cm), and depth of 5" (12.7 cm).

- The controller shall be furnished in an outdoor, weather-resistant wall-mount or pedestal-mount gray metal enclosure, prewired for remote control, with a key lock.

- The controller shall provide modular expansion up to 54 stations when conventionally wired, or up to 54 stations via two-wire decoders or Wireless Valve Links.

- All station outputs shall have MOV and copper induction coil surge suppression.

- The enclosure shall be IP55 rated.

- A 751CH key shall be mounted in the enclosure door for security.

  - Two (2) keys shall be provided for each controller.

- Stainless steel wall mount and stainless steel pedestal

- The controller shall be Hunter Industries model I2CF-800-SS. The stainless steel wall mount may also be mounted on a matching Type 316 stainless steel pedestal. The pedestal shall be Hunter Industries model ICC-PED-SS.

- The preassembled wall-mount controller shall have a height of 16" (40.6 cm), width of 13" (33.0 cm), and depth of 5" (12.7 cm).

- The preassembled pedestal mount shall have a height of 36" (91.4 cm), width of 11½" (29.2 cm), and depth of 5" (12.7 cm).

- The controller shall be furnished in an outdoor, weather-resistant, Type 316 stainless steel wall-mount metal enclosure, prewired for remote control, with a key lock.

- The controller shall provide modular expansion up to 54 stations when conventionally wired, or up to 54 stations via two-wire decoders.

- All station outputs shall have MOV and copper induction coil surge suppression.

- The enclosure shall be IP55 rated.

- A 751CH key shall be mounted in the enclosure door for security.

  - Two (2) keys shall be provided for each controller.

- Plastic pedestal

- The controller shall be Hunter Industries model I2CF-800-PP.

- The preassembled controller shall have a height of 39" (99 cm), width of 24" (61 cm), and depth of 17" (43 cm).

- The controller shall be furnished in an outdoor, weather-resistant, pedestal-mount plastic enclosure, prewired for remote control, with a key lock.

- The controller shall provide modular expansion up to 54 stations when conventionally wired, or up to 54 stations via two-wire decoders or Wireless Valve Links.

- All station outputs shall have MOV and copper induction coil surge suppression.

- The enclosure shall be IP24 rated.

- A 751CH key shall be mounted in the enclosure door for security.

  - Two (2) keys shall be provided for each controller.

  - Warranty

- The controller shall be installed in accordance with the manufacturer’s published instructions. The controller shall carry a conditional 5-year exchange warranty. The automatic controller(s) shall be the ICC2 Controller, as manufactured for Hunter Industries Incorporated, San Marcos, California.

Part 3 – Controller Hardware

  - Control display

- The display shall be 2½" (6.4 cm) diagonal monochrome, illuminated.

- All programming shall be accomplished via the programming dial and selection buttons with user feedback provided by a backlit LCD display.

  - Control panel

- The front panel of the controller shall be removable to allow for programming without AC power, via a 9 V DC battery.

- The front panel shall include a replaceable CR2032 battery for date/time backup during power outages.

  - Controller power

- Depending on requirements, the transformer input shall be 120 VAC, 60 Hz or 230 VAC, 50 Hz.

- The transformer output shall be 24 VAC, 1.4 A. The maximum output per station shall be 24 VAC, up to 0.56 A. The maximum output per P/MV terminal shall be 24 VAC, up to 0.56 A.

  - Controller surge protection

    - The controller transformer shall be equipped with an internal, self-resetting thermal circuit breaker to protect against overheating.

    - The controller transformer shall also be equipped with a ground lug for connection to proper earth-ground hardware.

  - Station modules

A.	The controller shall provide four (plastic enclosure) or six (metal and pedestal enclosures) separate station module slots.

- The controller shall use 4-, 8-, or 22-station conventional output modules, one 54-station decoder output module, or one 54-station Wireless Valve Output Module.

- Station modules shall be secured against field wiring tension by locking levers.

- Using conventional wire only, the controller shall be expandable from 8 to 38 stations (plastic) or 8 to 54 stations (metal and pedestals).

- Using conventional station modules in conjunction with one decoder output module (Hunter Industries model EZ-DM), all controller configurations (plastic, metal, and pedestal) shall expand up to 54 stations.

- Using conventional station modules in conjunction with one Wireless Valve Output Module (Hunter Industries model WVOM), all controller configurations (plastic, metal, and pedestal) shall expand up to 54 stations.

- Using conventional station modules in conjunction with one decoder output module (Hunter Industries model EZ-DM) and one Wireless Valve Output module (Hunter Industries model WVOM), all controller configurations (plastic, metal, and pedestal) shall expand up to 54 stations.

- The controller shall have a base model capacity of 8 stations, consisting of one 8-station output module.

- Each station output shall supply 24 VAC, up to 0.56 A current for solenoid activation.

- The controller shall have self-diagnostic, electronic short-circuit protection that detects a faulty circuit, continues watering the remainder of the program, and reports the faulty station on the display. The diagnostic function shall also be capable of being initiated manually by the user.

- Module hardware

- The controller output modules shall have MOV and copper induction coils on each station output circuit to help protect the microcircuitry from power surges.

  - Sensor inputs

A.	The controller shall provide two separate sensor inputs. One sensor input is dedicated for a weather sensor; the other sensor input is dedicated for a flow sensor.

- The weather sensor input shall be compatible with all standard Hunter Clik Sensors or a Hunter Solar Sync® Sensor.

  - Compatible Hunter Clik Sensor models include: RAIN-CLIK, WR-CLIK, MINI-CLIK, WM-CLIK, SOIL-CLIK, FLOW-CLIK, FREEZE-CLIK, WIND-CLIK, MWS

  - Compatible Hunter Solar Sync Sensor models include: SOLAR-SYNC-SEN, WSS-SEN

- The flow sensor input shall be compatible with all standard velocity/frequency-based flow sensors with precalibrated K-Factor and Offset specifications.

  - Compatible Hunter flow sensor models include: HFS, WFS

  - P/MV outputs

- The controller shall have one built-in P/MV output with a capacity of up to 0.56 A (24 VAC).

- The P/MV output shall be selectable as “active” or “disabled” per each individual station.

  - Common wire

- A common wire terminal shall be provided on the controller’s power module, and additional commons shall be provided on each station output module.

  - SmartPort® Wiring Harness

A.	The controller shall be prewired with a SmartPort Wiring Harness for easy connection of optional wireless remote controls.

B.	For international or short-range uses, the wireless remote control shall be the Hunter Industries model ROAM-KIT with a useful range of up to 1,000' (330 m).

C.	For U.S. or long-range uses (where permitted), the wireless remote shall be Hunter Industries model ROAM-XL-KIT or ROAM-LR-KIT with a useful range of up to 2 miles (3.2 km).

Part 4 – Programming and Operational Software

4.0 General

- The control panel shall be available in an English language display. The display shall include selectable settings for date and time.

- The controller shall also have optional language customization kits that allow the front panel overlay sticker, display overlay sticker, and programming instructions inside the door to be changed to French, German, Italian, Portuguese, Russian, Spanish, and Turkish.

4.1 Programming

- The controller shall have four independent programs with unique day schedules, start times, and station run times.

- Each program shall offer up to eight start times.

- The controller shall be capable of running any two programs (+P/MV) simultaneously.

- The controller programs shall have four weekly schedule options to choose from:

- 7-day calendar

- Up to 31-day interval calendar

- Odd-day and even-day programming

- 365-day calendar clock to accommodate true odd-even watering

- Each station shall be programmable in minutes of run time, from 1 minute to 12 hours.

- The controller shall be equipped with programmable Non-Water Days to prevent watering on selected days of the week.

- Each program may be assigned a programmable Delay Between Stations to allow for slow-closing valves or pressure recharging.

- Delays between stations shall be programmable in 1-second increments from 0 to 60 seconds and in 1-minute increments from 60 seconds up to 10 hours.

- The controller shall be equipped with a rain sensor bypass switch that allows the user to override a sensor that has suspended watering.

- The controller shall allow the sensor input to be programmed by station to exempt specified stations from sensor shutdowns.

- Program backup shall be provided by a non-volatile memory circuit that will hold the program data indefinitely.

- The controller shall also track time of day and date during power outages by means of a replaceable, commonly available CR2032 lithium battery.

4.2 Software

- The controller shall have a manual Seasonal Adjust setting from 5% to 300% in 5% increments.

- The controller shall have an automatic Seasonal Adjust setting when installed with a Solar Sync Sensor.

- The controller shall be capable of determining and displaying the total run time input for each program.

- The controller shall allow Easy Retrieve® Memory backup of all programming and configurations to preserve the original configuration, which may be restored at any time.

- Optional remote irrigation management connectivity shall be available via Centralus Software. This cloud-based control platform allows for remote programming and system monitoring through a PC, tablet, or smartphone. Connectivity can be accomplished via cellular, Wi-Fi, or Ethernet internet connection with Hunter Industries models CELLKIT, WIFIKIT, or LANKIT.

© 2025 Hunter Industries Inc. Hunter, the Hunter logo, and other marks are trademarks of Hunter Industries Inc., registered in the U.S. and certain other countries.