# Landscape Dripline (LDL) Written Specifications

Part 1 – General

  - Hunter Landscape Dripline (LDL) is a pressure-compensating, heavy wall dripline with a wall thickness of 1.0 mm. This 16 mm dripline shall provide consistent irrigation at designated flows and emitter spacing and shall conform to an inside diameter (ID) of 13.8 mm and an outside diameter (OD) of 15.8 mm.

Part 2 – Parts and Material

2.1 	The coextruded, pressure-compensating emitters installed during the extrusion process at the factory shall have regular intervals and flows as specified by the model. The dripline shall be available in the following options:

- LDL-PC (16 mm)

  - LDL-24-30-XXX-PC: 2.4 l/hr emitters spaced at 30 cm on center

  - LDL-24-45-XXX-PC: 2.4 l/hr emitters spaced at 45 cm on center

  - LDL-38-30-XXX-PC: 3.8 l/hr emitters spaced at 30 cm on center

  - LDL-38-45-XXX-PC: 3.8 l/hr emitters spaced at 45 cm on center

- The product material shall be linear low-density polyethylene. This shall provide higher ultraviolet (UV) resistance and an improved surface for emitters to adhere to the inner circumference of the tube. All LDL models shall offer UV resistance for longevity and shall meet the required standards.

- The dripline shall have a colour-coded stripe that reveals the flow. The tube shall have one broad center stripe into which emitter holes shall be drilled. The stripe shall be part of the extrusion process and not painted or printed.

  - The grey stripe shall indicate a flow of 2.4 l/hr.

  - The black stripe shall indicate a flow of 3.8 l/hr.

2.2  Warranty

- The dripline shall be installed in accordance with the manufacturer’s published instructions. LDL products shall be warranted to be free of defects in materials or workmanship under normal use in landscape irrigation applications for 5 years. The dripline shall be Landscape Dripline (LDL), as manufactured for Hunter Industries Incorporated, San Marcos, California.

Part 3 – Function and Operation

3.1  Pressure and flow

- Consistent flow shall be supplied from each and every pressure-compensating emitter based on inlet pressure in the range of 1 to 4.2 bar (100 to 420 kPa).

- The required filtration for all LDL models shall be 120 mesh (125 microns).

- Check valves shall keep the LDL charged up to 2 m and prevent low-point drainage.

- LDL shall be connected with any standard 16 mm Barb Fittings or, for quicker installation, the PLD-LOC Fittings.

© 2025 Hunter Industries Inc. Hunter, the Hunter logo, and other marks are trademarks of Hunter Industries Inc., registered in the U.S. and certain other countries.